The University of Azad Jammu and Kashmir, Muzaffarabad

Department of Software Engineering

# Detailed Report (PhysioNet – Digitization of ECG Images (Kaggle))
Computer Vision

By

Abdul Ur Rehman Butt	2022-SE-27

Sheikh Umar                          2022-SE-07

Hasnain Shafique	            2022-SE-39

Instructor
Engr Ahmed Khawaja

###### Bachelor of Science in Software Engineering (2022-2026)

## 1. Introduction

Electrocardiograms (ECGs) are widely used for cardiac diagnosis, but many ECG records exist only as scanned images. These images cannot be directly analysed by computers. The objective of this project is to convert ECG images into digital ECG signals while preserving the physiological structure and amplitude relationships of all 12 standard ECG leads.

This work presents a complete image-to-signal digitization pipeline that transforms ECG images into time-series data suitable for automated analysis.

## 2. Dataset Overview

The dataset consists of:

- Scanned ECG images in PNG format

- Metadata containing:

  - Sampling frequency

  - Required signal length for each lead

- A predefined submission structure specifying how digitized signals must be indexed

Each ECG image contains multiple leads arranged in horizontal rows.

## 3. System Overview

The solution follows a multi-stage pipeline:

- Image enhancement

- ECG row detection

- ECG waveform extraction

- Signal correction and normalization

- Reconstruction of 12 ECG leads

- Formatting of results for submission

Each stage is designed to reduce noise, improve accuracy, and ensure physiological consistency.

## 4. Image Enhancement

ECG images often suffer from low contrast, uneven lighting, and scanning noise. To address these issues:

- The image is converted to grayscale to simplify processing

- Noise is reduced while preserving sharp waveform edges

- Contrast is enhanced adaptively to make ECG traces darker and more distinguishable from the background

This step ensures that the ECG waveform is clearly visible for reliable extraction.

## 5. ECG Row Detection

ECG images typically contain four horizontal rows, each holding one or more leads.

To detect these rows:

- Average pixel intensity is computed across each horizontal line

- Darker regions correspond to ECG waveforms

- The intensity profile is smoothed to suppress noise

- The darkest horizontal regions are selected as ECG rows

- Adaptive margins are applied to ensure full waveform coverage

This process enables robust segmentation of ECG rows regardless of image resolution.

## 6. ECG Waveform Extraction

From each detected row, a one-dimensional ECG signal is extracted.

### Waveform Localization

- The ECG trace is identified as the darkest structure in each vertical slice of the image

- The vertical position of the waveform is tracked column by column

- A secondary weighted approach improves stability when the waveform is thick or blurred

### Noise Reduction

- Sudden spikes and isolated noise are removed

- Minor distortions caused by scanning artifacts are suppressed

### Baseline Wander Removal

- Slow baseline drift caused by paper curvature or scanning is estimated and removed

- The signal is cantered around zero

### Polarity Correction

- The orientation of the waveform is automatically corrected so that major peaks appear upright

### Amplitude Normalization

- Signal amplitude is normalized to ensure consistency across different leads while preserving relative morphology

## 7. Signal Post-Processing

To produce clinically meaningful signals:

- Signals are resampled to match the required length

- Smoothing filters reduce high-frequency noise while preserving ECG features such as P-waves, QRS complexes, and T-waves

- Final refinement ensures continuity and smoothness

This stage produces clean, evenly sampled ECG waveforms.

## 8. Reconstruction of 12 ECG Leads

The ECG image provides a limited number of directly visible traces. The remaining leads are reconstructed using physiological relationships:

### Standard Limb Leads

- Lead I and Lead II are extracted directly

- Lead III is computed using Einthoven’s law

### Augmented Limb Leads

- aVR, aVL, and aVF are derived using Goldberger’s equations

### Precordial (Chest) Leads

- Chest leads are mapped based on their typical arrangement within the ECG image rows

- Leads V1–V3 and V4–V6 are assigned according to standard ECG layout

This approach ensures that all 12 leads are generated consistently.

## 9. Submission Preparation

Each lead signal is:

- Converted into a sequence of time-sampled values

- Indexed using a unique identifier format required by the competition

- Aligned exactly with the provided sample submission structure

## 10. Results

- All test ECG images were successfully digitized

- All 12 ECG leads were generated for each image

- The final submission contained 75,000 signal values

## 11. Conclusion

This project demonstrates an effective and systematic approach to ECG image digitization using classical image and signal processing techniques. The method successfully transforms scanned ECG images into structured digital signals while maintaining physiological accuracy.

## 12. Future Improvements

- Deep learning–based waveform segmentation

- Automatic detection of ECG grid scaling

- Improved lead localization for diverse ECG layouts

## 13. Private and Public Score

## 14. Leaderboard